## System
Ventilation system name | Heating system name | Cooling system name
Ventilation1
Ventilation2

## BuildingSpace
id | name | airVolume | ventilationSystem
Space1 | Ø22-508-1 | 400 | Ventilation1
Space2 | Ø22-511-2 | 444.8 | Ventilation1
Space3 | Space3-name | 200 | Ventilation1
Space4 | Space4-name | 250 | Ventilation1
Space5 | Space5-name | 300 | Ventilation1
Space6 | Space6-name | 350 | Ventilation2
Space7 | Space7-name | 400 | Ventilation2
Space8 | Space8-name | 450 | Ventilation2
Space9 | Space9-name | 500 | Ventilation2
Space10 | Space10-name | 550 | Ventilation2

## Damper
id | subSystemOf | isContainedIn | hasProperty | operationMode | nominalAirFlowRate
Supply damper 1 | Ventilation1 | Space1 | openingPosition | supply | 0.22217
Exhaust damper 1 | Ventilation1 | Space1 | openingPosition | exhaust | 0.22217
Supply damper 2 | Ventilation1 | Space2 | openingPosition | supply | 0.45642
Exhaust damper 2 | Ventilation1 | Space2 | openingPosition | exhaust | 0.45642
Supply damper 3 | Ventilation1 | Space3 | openingPosition | supply | 0.1
Exhaust damper 3 | Ventilation1 | Space3 | openingPosition | exhaust | 0.1
Supply damper 4 | Ventilation1 | Space4 | openingPosition | supply | 0.15
Exhaust damper 4 | Ventilation1 | Space4 | openingPosition | exhaust | 0.15
Supply damper 5 | Ventilation1 | Space5 | openingPosition | supply | 0.2
Exhaust damper 5 | Ventilation1 | Space5 | openingPosition | exhaust | 0.2
Supply damper 6 | Ventilation2 | Space6 | openingPosition | supply | 0.25
Exhaust damper 6 | Ventilation2 | Space6 | openingPosition | exhaust | 0.25
Supply damper 7 | Ventilation2 | Space7 | openingPosition | supply | 0.3
Exhaust damper 7 | Ventilation2 | Space7 | openingPosition | exhaust | 0.3
Supply damper 8 | Ventilation2 | Space8 | openingPosition | supply | 0.35
Exhaust damper 8 | Ventilation2 | Space8 | openingPosition | exhaust | 0.35
Supply damper 9 | Ventilation2 | Space9 | openingPosition | supply | 0.4
Exhaust damper 9 | Ventilation2 | Space9 | openingPosition | exhaust | 0.4
Supply damper 10 | Ventilation2 | Space10 | openingPosition | supply | 0.45
Exhaust damper 10 | Ventilation2 | Space10 | openingPosition | exhaust | 0.45

## Fan
id | subSystemOf | operationMode | nominalAirFlowRate | nominalPowerRate | c1 | c2 | c3 | c4
Supply fan 1 | Ventilation1 | supply | 12.0799 | 9703.3333 | 0 | 0.8321 | -0.9847 | 1.1526
Exhaust fan 1 | Ventilation1 | exhaust | 11.7396 | 8462.0833 | 0 | 0.8843 | -0.4617 | 0.5775
Supply fan 2 | Ventilation2 | supply | 12.0799 | 9703.3333 | 0 | 0.8321 | -0.9847 | 1.1526
Exhaust fan 2 | Ventilation2 | exhaust | 11.7396 | 8462.0833 | 0 | 0.8843 | -0.4617 | 0.5775

## Controller
id | subSystemOf | isContainedIn | controlsElementType
CO2 controller 1 | Ventilation1 | Space1 | damper
CO2 controller 2 | Ventilation1 | Space2 | damper
CO2 controller 3 | Ventilation1 | Space3 | damper
CO2 controller 4 | Ventilation1 | Space4 | damper
CO2 controller 5 | Ventilation1 | Space5 | damper
CO2 controller 6 | Ventilation2 | Space6 | damper
CO2 controller 7 | Ventilation3 | Space7 | damper
CO2 controller 8 | Ventilation4 | Space8 | damper
CO2 controller 9 | Ventilation5 | Space9 | damper
CO2 controller 10 | Ventilation6 | Space10 | damper

## Sensor
id | measuresProperty | isContainedIn
CO2 sensor 1 | CO2 | Space1
CO2 sensor 2 | CO2 | Space2
CO2 sensor 3 | CO2 | Space3
CO2 sensor 4 | CO2 | Space4
CO2 sensor 5 | CO2 | Space5
CO2 sensor 6 | CO2 | Space6
CO2 sensor 7 | CO2 | Space7
CO2 sensor 8 | CO2 | Space8
CO2 sensor 9 | CO2 | Space9
CO2 sensor 10 | CO2 | Space10

## Controller_options (hidden)
T
C